## Slide 1: Accuracy and Precision
Dr V’s Chemistry webcasts

## Slide 2
All measurements have an inherent error—instrument errors, method errors, or human error.

## Slide 3: Systematic Errors
Built-in errors which consistently change all the measurements by a certain amount
  Consistent and repeatable errors

## Slide 4: Systematic Errors
Examples…
  Finding length with a stretched out measuring tape (scale error)
  Measuring your height with your shoes on (offset error)
  Finding mass with an improperly zeroed or poorly calibrated balance

## Slide 5: Random errors
Unpredictable, unknown variations
  Limitations of instruments, tiny variations in the procedure
  Examples
    Changes in room temperature
    Reading the volume from a graduated cylinder at different angles every time
    Air currents affecting the mass readings on a balance

## Slide 6: Accuracy
The extent to which a measurement approaches the true value of a quantity (from Chemistry: Visualizing Matter)
Accuracy is how close to the accepted or true value a measurement is. (from http://bell.mma.edu/~jbouch/Glossary/Accuracy.html)

## Slide 7: Precision
The degree of exactness or refinement of a measurement (from Chemistry: Visualizing Matter)
The reproducibility of a particular measurement

## Slide 8: Precision
Can be expressed using “significant figures”
Gives information on the scale markings of the measuring instrument
    Smaller scale divisions ⇒ more significant figures ⇒ more precise

## Slide 9: Precision
Precision measures how far from the mean or average of replicate measurements a particular measurement lies. (from http://bell.mma.edu/~jbouch/Glossary/Accuracy.html)

## Slide 10: Range and precision
The range of measurements in a set is another way to discuss precision
  Larger range  lower precision
  Smaller range  improved precision
Experiment 1 | Mass of sample (g)
Trial A | 3.45
Trial B | 3.42
Trial C | 3.40
Range | 0.05
Experiment 2 | Mass of sample (g)
Trial X | 2.76
Trial Y | 3.87
Trial Z | 3.63
Range | 1.11
more precise

## Slide 11: Good accuracy, good precision

## Slide 12: Good accuracy, poor precision

## Slide 13: Precise, but not accurate

## Slide 14: Neither accurate nor precise

## Slide 15: You and your classmates measure the length of your pencil in cm
Create sample data sets
  Accurate, but imprecise
  Precise, but inaccurate
  Both accurate and precise
  Inaccurate and imprecise
Take a screenshot of your answers and upload this for the assignment in Google Classroom